## Sheet1
device hostname | device model | device serial number | location of ios on device | device ios type | current ios on device
JIA-136-VG224-108 V | VG224 | FHK1252F0KR | slot0:vg224-i6k9s-mz.151-3.T4.bin | IOS | 15.1(3)T4
JIA-COLEFLYER-620-102 | WS-C2960X-24PD-L | FOC2119V2KW | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
PAR-HG103-3750X-50 | WS-C3750X-24S | FDO1819P0HQ | flash:c3750e-universalk9-mz.152-2.E8.bin | IOS | 15.2(2)E8
JIA-136-VG224-106 V | VG224 | FHK1223F4QR | slot0:vg224-i6k9s-mz.151-3.T4.bin | IOS | 15.1(3)T4
JIA-VENDORGATE-620-101 W | WS-C2960L-8PS-LL | FCW2220A6BC | flash:c2960l-universalk9-mz.152-6.E/c2960l-universalk9-mz.152-6.E.bin | IOS | 15.2(6)E
JIA-AS188-620-1 | WS-C4500X-32 | JAE2043035C | bootflash:cat4500e-universalk9.SPA.03.11.02.E.152-7.E2.bin | IOS-XE | 03.11.02.E
JIA-TUG-2960X-10 | WS-C2960X-48LPD-L | FJC2218W07B | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-TUG-3750-2 | WS-C3750X-24S | FDO1819P0DA | flash:/c3750e-universalk9npe-mz.150-2.SE8/c3750e-universalk9npe-mz.150-2.SE8.bin | IOS | 15.0(2)SE8
JIA-SOUTHMEZ-620-5 | WS-C2960X-24PS-L | FCW1946A3JF | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-1N-193B-620-6 | WS-C2960X-48LPS-L | FCW2003B24U | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-232-620-13 | WS-C2960X-48FPD-L | FOC2039V2UJ | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-204C-620-11 | WS-C2960X-24PD-L | FCW2037A2RZ | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-C105-620-14 | WS-C2960X-48FPD-L | FOC2039S2LR | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-211-620-12 | WS-C2960X-48FPD-L | FOC2032V3GY | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-C141-620-15 | WS-C2960X-48FPD-L | FOC2032S3QE | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-A110AB-620-18 | WS-C2960X-48FPD-L | FOC2039S2M6 | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-A110A-620-17 | WS-C2960X-48FPD-L | FOC2032V3HP | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-A124-620-19 | WS-C2960X-48FPD-L | FOC2039S2LP | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-C170-620-16 | WS-C2960X-48FPD-L | FOC2032S3QV | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
PAR-DG401-620-21 | WS-C2960X-48FPD-L | FCW2007B5TF | flash:/c2960x-universalk9-mz.152-4.E8/c2960x-universalk9-mz.152-4.E8.bin | IOS | 15.2(4)E8
JIA-ANNEX-620-24 | IE-4000-4GS8GP4G-E | FDO2047U02E | sdflash:ie4000-universalk9-mz.152-4.EA5.bin | IOS | 15.2(4)EA5
PAR-HG103-620-23 | WS-C2960X-48FPD-L | FOC2039S2LV | flash:c2960x-universalk9-mz.152-2.E6.bin | IOS | 15.2(2)E6
JIA-CPFUEL-620-25 | IE-4000-4GS8GP4G-E | FDO2415J6TS | sdflash:/ie4000-universalk9-mz.152-4.EA9/ie4000-universalk9-mz.152-4.EA9.bin | IOS | 15.2(4)EA9
PAR-DG201-620-22 | WS-C2960X-48FPD-L | FOC2039V2UV | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-CPEP3-620-28 | IE-4000-4GS8GP4G-E | FDO2050U04T | sdflash:ie4000-universalk9-mz.152-4.EA5.bin | IOS | 15.2(4)EA5
JIA-CPEP2-620-27 | IE-4000-4GS8GP4G-E | FDO2047U02P | sdflash:ie4000-universalk9-mz.152-4.EA5.bin | IOS | 15.2(4)EA5
JIA-CPBARN-620-29 | IE-4000-4GS8GP4G-E | FDO2050U048 | sdflash:ie4000-universalk9-mz.152-4.EA5.bin | IOS | 15.2(4)EA5
JIA-CPEP1-620-26 | IE-4000-4GS8GP4G-E | FDO2310J222 | sdflash:/ie4000-universalk9-mz.152-4.EA5/ie4000-universalk9-mz.152-4.EA5.bin | IOS | 15.2(4)EA5
JIA-Allegiant-2960L-30 | WS-C2960L-8PS-LL | FCW2220A698 | flash:c2960l-universalk9-mz.152-6.E/c2960l-universalk9-mz.152-6.E.bin | IOS | 15.2(6)E
JIA-CPAC2-620-32 | IE-4000-4GS8GP4G-E | FDO2047U01X | sdflash:ie4000-universalk9-mz.152-4.EA5.bin | IOS | 15.2(4)EA5
JIA-FEDEX-620-33 | IE-4000-4GS8GP4G-E | FDO2050U04B | sdflash:ie4000-universalk9-mz.152-4.EA5.bin | IOS | 15.2(4)EA5
JIA-CPAC1-620-31 | IE-4000-4GS8GP4G-E | FDO2050U04S | sdflash:ie4000-universalk9-mz.152-4.EA5.bin | IOS | 15.2(4)EA5
JIA-IDFARFF-620-35 | WS-C2960X-24PD-L | FCW2037A2RM | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-LS136-620-34 | WS-C2960X-24PD-L | FCW2037A2QU | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-SUBSTATION-2960-38 | WS-C2960+24TC-L | FOC1829S08D | flash:/c2960-lanbasek9-mz.150-2.SE5/c2960-lanbasek9-mz.150-2.SE5.bin | IOS | 15.0(2)SE5
JIA-DevLab-SW01-40 | WS-C2960X-48TS-L | FCW2040B2WS | flash:/c2960x-universalk9-mz.152-2.E5/c2960x-universalk9-mz.152-2.E5.bin | IOS | 15.2(2)E5
JIA-SUBSTATION-PUB-39 | WS-C2960X-24PD-L | FCW2037A2QB | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-HOURLY-2960-41 | WS-C2960L-8PS-LL | FOC2319V0FA | flash:c2960l-universalk9-mz.152-6.E2b/c2960l-universalk9-mz.152-6.E2b.bin | IOS | 15.2(6)E2b
JIA-CHILLER-620-37 | WS-C2960X-48FPD-L | FOC2039S2JU | flash:c2960x-universalk9-mz.152-4.E6.bin | IOS | 15.2(4)E6
JIA-CHAPEL-49 | WS-C2960S-48LPD-L | FOC1902Z1UY | flash:/c2960s-universalk9-mz.122-55.SE8/c2960s-universalk9-mz.122-55.SE8.bin | IOS | 12.2(55)SE8
PAR-TOLL-3850-48 | WS-C3850-48P | FCW1926C14V | flash:cat3k_caa-universalk9.SPA.03.06.06.E.152-2.E6.bin | IOS-XE | 03.06.06.E
PAR-TOLL-3850S-47 | WS-C3850-24S | FCW1927C0T3 | flash:packages.conf | IOS-XE | 16.09.05